## Information
new
This application for Excel 97 has been developed by Alan Rowley Associates
for more information on this and our other products for laboratory and general quality management contact:-
Dr Alan G Rowley
23 Garth End Road
West Ayton
SCARBOROUGH YO13 9JJ UK
Tel: +(44) 1723 865 177
Fax: +(44) 1723 865 334
rowleyassoc@netwales.co.uk
Uncertainty Toolmaster

## determinand steps 1 & 2
Method Number: | ES-TORG-P-216 |  |  | ONLY CELLS THIS COLOUR CAN HAVE DATA ENTERED. SCROLL DOWN TO ENSURE ALL CELLS THAT ARE REQUIRED HAVE DATA ENTERED
Determinand: | Emamectin Benzoate
Matrix / Matrices: | Marine Sediments
Concentration Range: | 4 - 125 ng/Kg
Control Chart Histograms can be copied to the NWA tab.
Control Chart Date: | NA |  |  | Validation data can be copied to the Validation tab.
Validation Date: | 2017-09-22 |  |  | Fishbone diagram can be copied to the Fishbone tab.
Analyst: | Redacted |  |  | Unless temperature effects and operator effects are significant, these contributions will not be included.
Uncertainty Estimate Date: | 2017-10-06
Copy data from the first three columns to the Uncertainty tab and paste the Values. Enter Type of Distribution or Coverage directly into the Uncertainty tab (drop-down list). Update the Description of Uncertainty Source with the full range standard and matrix name where appropriate. Ensure the Include column has a Y for all included lines (drop-down list).
Possible Components of Uncertainty Estimate:
Description of Uncertainty Source | Source Uncertainty Value | Nominal Value | Type of Distribution or Coverage | Data Source (leave blank if not needed for all matrices) | Component Parts Summary | Where from | Equation | Comments | look-up list
Overall method process precision * | 11.8553 | 100 | STD Dev |  | = RSD | control chart | RSD |  | Data Source
Overall method process bias * | 1.3652 | 56.4159 | STD Dev |  | = uncertainty of method process bias | control chart | STDEV / √ no replicates |  | overall method | full range | matrix | Include
|  | Bottom-up - as appropriate for each line, CRM - from certificate |  |  | + uncertainty of target value | bottom-up IPS preparation or CRM details from certificate |  |  | Control Chart | 10% | Ground Water | Y
Full range concentration precision | 11.7322 | 100 | STD Dev |  | = RSD | validation 90% or 10% std | √(RSD 10% or 90% validation)2 - RSD overall (control chart)2 |  | Validation | 90% | Land Leachate
Full range concentration bias | 0.21408 | 6.2881 | STD Dev |  | = uncertainty of full range concentration bias | validation 90% or 10% std | STDev 10% or 90% validation / √ no replicates |  |  |  | Prepared Leachate
Matrix effects precision ** 1 |  | 100 | STD Dev |  | = RSD | validation matrix spike or sample | √(RSD matrix validation)2 - RSD overall (control chart)2 |  |  |  | Saline Water
Matrix effects bias ** 1 |  | Mean Matrix Spike / Sample | STD Dev |  | = uncertainty of matrix effects bias | validation matrix spike or sample | STDev matrix validation / √ no replicates |  |  |  | Surface Water
Matrix effects precision ** 2 |  | 100 | STD Dev |  | = RSD | validation matrix spike or sample | √(RSD matrix validation)2 - RSD overall (control chart)2 |  |  |  | Trade Effluent
Matrix effects bias ** 2 |  | Mean Matrix Spike / Sample | STD Dev |  | = uncertainty of matrix effects bias | validation matrix spike or sample | STDev matrix validation / √ no replicates |  |  |  | Treated Sewage
Matrix effects precision ** 3 |  | 100 | STD Dev |  | = RSD | validation matrix spike or sample | √(RSD matrix validation)2 - RSD overall (control chart)2 |  |  |  | Untreated Sewage
Matrix effects bias ** 3 |  | Mean Matrix Spike / Sample | STD Dev |  | = uncertainty of matrix effects bias | validation matrix spike or sample | STDev matrix validation / √ no replicates |  |  |  | Biota
Matrix effects precision ** 4 |  | 100 | STD Dev |  | = RSD | validation matrix spike or sample | √(RSD matrix validation)2 - RSD overall (control chart)2 |  |  |  | Waste
Matrix effects bias ** 4 |  | Mean Matrix Spike / Sample | STD Dev |  | = uncertainty of matrix effects bias | validation matrix spike or sample | STDev matrix validation / √ no replicates |  |  |  | Sediment
Matrix effects precision ** 5 |  | 100 | STD Dev |  | = RSD | validation matrix spike or sample | √(RSD matrix validation)2 - RSD overall (control chart)2 |  |  |  | Soil
Matrix effects bias ** 5 |  | Mean Matrix Spike / Sample | STD Dev |  | = uncertainty of matrix effects bias | validation matrix spike or sample | STDev matrix validation / √ no replicates |  |  |  | Gas
Matrix effects precision ** 6 |  | 100 | STD Dev |  | = RSD | validation matrix spike or sample | √(RSD matrix validation)2 - RSD overall (control chart)2
Matrix effects bias ** 6 |  | Mean Matrix Spike / Sample | STD Dev |  | = uncertainty of matrix effects bias | validation matrix spike or sample | STDev matrix validation / √ no replicates
EQS precision ⱡ |  | 100 | STD Dev |  | = RSD | validation EQS std or spike | √(RSD EQS validation)2 - RSD overall (control chart)2
EQS bias ⱡ |  | Mean EQS | STD Dev |  | = uncertainty of EQS bias | validation EQS std or spike | STDev EQS validation / √ no replicates
Infrequent standard preparation | Bottom-up - as appropriate for each line |  |  |  |  | bottom-up infrequent standard preparation
Pre dilution | Bottom-up - as appropriate for each line |  |  |  |  | bottom-up predilution preparation
Other (e.g. Operator variation, Field methods) | Bottom-up - as appropriate for each line |  |  |  |  | bottom-up
* For an established method, use the control chart QC (IPS / PCS) . For a new method use the validation data for the 10% or 90% QC (IPS / PCS) - must not be the same as used in Full Range Concentration. After a control chart review, only the Overall Method Process precision is updated.
** If matrices are not comparable, all matrices can be calculated on this one tab but each matrix will have an uncertainty estimate - use Move/Copy to create copies of the Uncertainty Toolmaster final tab and ensure the tabs are clearly labelled with Determinand and Matrix.
Where matrices have been shown to be comparable, one matrix will be analysed in the stage 3 validation resulting in one uncertainty estimate for that method. When updating uncertainty estimates from older validation, it may be the case that multiple matrices were analysed in the stage 3 validation despite being shown to be comparable, in this case, use the matrix with the highest RSD and uncertainty of bias in a final single uncertainty estimate.
ⱡ EQS for WFD determinands only. EQS determinands and levels can be found here: |  |  | http://stir-app-qpl01/LinkToQPulse/Documents.svc/documents/active/attachment?number=WAT-SG-53
Data From Control Chart Or Validation to Calculate Source Uncertainty Value: |  |  |  | Standard and Dilution Data (enter directly into Toolmaster as no pre-calculation needed):
Overall Method |  |  |  | Data for Target Value using CRM
Control Chart / Validation QC std dev | 6.6882 |  |  | Source Uncertainty Value from certificate.
Control Chart / Validation QC no results | 24 |  |  | Nominal Value from certificate.
Control Chart / Validation QC mean | 56.4159 |  |  | Type - if this is not specified e.g. Coverage Factor 2, use Rectangular.
Control Chart / Validation QC RSD | 11.8553
Full Range |  |  |  | Data for Target Value using Bottom-up Standard Preparation
And Infrequent Standard Preparation
Std dev Validation high / low | 1.0488
No results Validation high / low | 24 |  |  | STOCK MATERIAL
Mean Validation high/low | 6.2881 |  |  | Soure Uncertainty Value Purity of stock material from certificate.
high/low Validation RSD | 16.6791 |  |  | Nominal Value from certificate (use 100 if given as %).
Type - if this is not specified e.g. Coverage Factor 2, use Rectangular.
Matrix Effects
BALANCE
Matrix Name 1 |  |  |  | From latest external calibration certificate (if more than one balance available, use worst case scenario).
Std dev matrix Validation
No results matrix Validation
Mean matrix Validation |  |  |  | VOLUMETRIC EQUIPMENT
matrix Validation RSD |  |  |  | Separate lines for each piece of volumetric equipment in each step (if Source Uncertainty Value not printed on glassware, use Lab15).
Matrix Name 2
Std dev matrix Validation |  |  |  | Single volume e.g. volumetric flask or fixed volume pipette will be Triangular, variable volume will be Rectangular. For calibrated pipettes, use the target error to account for day to day variations.
No results matrix Validation
Mean matrix Validation
matrix Validation RSD
Data for Target Value using Bottom-up Pre-Dilution
Matrix Name 3
Std dev matrix Validation |  |  |  | VOLUMETRIC EQUIPMENT
No results matrix Validation |  |  |  | Separate lines for each piece of volumetric equipment in each step (if Source Uncertainty Value not printed on glassware, use Lab15).
Mean matrix Validation
matrix Validation RSD
Single volume e.g. volumetric flask or fixed volume pipette will be Triangular, variable volume e.g. measuring cylinder, variable volume pipettewill be Rectangular.
Matrix Name 4
Std dev matrix Validation
No results matrix Validation
Mean matrix Validation |  |  |  | For calibrated pipettes, use the target error to account for day to day variations.
matrix Validation RSD
Matrix Name 5 |  |  |  | Other Data (e.g.Operator variations, Field methods)
Std dev matrix Validation
No results matrix Validation |  |  |  | Ensure all sources of uncertainty are identified.
Mean matrix Validation
matrix Validation RSD
Matrix Name 6
Std dev matrix Validation
No results matrix Validation
Mean matrix Validation
matrix Validation RSD
EQS
Std dev EQS Validation
No results EQS Validation
Mean EQS Validation
EQS Validation RSD

## uncertainty
Uncertainty Toolmaster | Combined Uncertainty Evaluation
%
| Standard Relative Uncertainty |  |  | 0.17381 | 17.381
| Extended by Coverage Factor 2 |  |  | 0.34762 | 34.7619
| Extended by Coverage Factor 3 |  |  | 0.52143 | 52.1429
Enter Determinand, Method and Matrix Details
Description of Uncertainty Source | Source Uncertainty Value | Nominal Value | Include | Type of Distribution or Coverage | Divisor Description | User Divisor | Divisor Value | Standard Uncertainty | Relative Standard Uncertainty | Relative Standard Uncertainty Squared
[11 empty] | Std Deviation Provided | None Required | 1
Overall method process precision * | 11.8553 | 100 | Y | Std Deviation Provided | None Required | 2 | 1 | 11.8553 | 0.11855 | 0.014055 | Coverage Factor 2 | Coverage=2 | 2
Overall method process bias * | 1.3652 | 56.4159 | Y | Std Deviation Provided | None Required | 2 | 1 | 1.3652 | 0.024199 | 0.00058561 | Coverage Factor 3 | Coverage=3 | 3
[6 empty] | 2 |  |  |  |  | Other Coverage Factor | Enter Value>
Full range concentration precision | 11.7322 | 100 | Y | Std Deviation Provided | None Required | 2 | 1 | 11.7322 | 0.11732 | 0.013764 | Gaussian 95% | t=1.96 | 1.96
Full range concentration bias | 0.21408 | 6.2881 | Y | Std Deviation Provided | None Required | 2 | 1 | 0.21408 | 0.034046 | 0.0011591 | Gaussian 99% | t=2.58 | 2.58
[6 empty] | 2 |  |  |  |  | Rectangular | SQRT(3) | 1.7321
[6 empty] | 2 |  |  |  |  | Triangular | SQRT(6) | 2.4495
2
Secondary cal std 1mg/l | [5 empty] | 2
10ml Volumetric flask | 0.06 | 10 | Y | Triangular | SQRT(6) | 2 | 2.4495 | 0.024495 | 0.0024495 | 6e-06
Hamilton dilutor | 3 | 100 | Y | Rectangular | SQRT(3) | 2 | 1.7321 | 1.7321 | 0.017321 | 0.0003
Acetonitrile HPLC grade | 0.1 | 100 | Y | Rectangular | SQRT(3) | 2 | 1.7321 | 0.057735 | 0.00057735 | 3.3333e-07
Emamectin stock standard purity | 0.6 | 100 | Y | Coverage Factor 2 | Coverage=2 | 2 | 2 | 0.3 | 0.003 | 9e-06
2
2
Tertiary Cal Std 0.05mg/l
25ml volumetric flask | 0.06 | 25 | Y | Triangular | SQRT(6) |  | 2.4495 | 0.024495 | 0.0009798 | 9.6e-07
Hamilton dilutor | 3 | 100 | Y | Rectangular | SQRT(3) |  | 1.7321 | 1.7321 | 0.017321 | 0.0003
sample predilution
5ml automatic pippette | 0.04 | 3 | Y | Triangular | SQRT(6) |  | 2.4495 | 0.01633 | 0.0054433 | 2.963e-05
operator effects - not included
Temperature effects not included
2
2
2
2
2
2